Authors’ Responses

(JAS-2024-1603)

Dear Editors and Reviewers:

We appreciate your careful work and valuable comments on our manuscript (JAS-2024-1603), “Advanced 3D Wind Farm Layout Optimization Framework via Power-Law Perturbation-based Genetic Algorithm” Thanks very much to the associate editor and editor-in-chief for your help.

We appreciate this opportunity to revise our work for consideration for publication in IEEE/CAA Journal of Automatica Sinica. We have provided this reply letter to explain, point by point, the details of our revision and our responses to the reviewers’ comments.

In order to make the changes easily viewable, we have marked the modifications in blue in the revised manuscript. We carefully reread and rechecked the manuscript and corrected some phrasal and grammatical errors. We believe the paper is more accurate now, and the goals and results of the study are clearer to readers.

We hope the revised manuscript will satisfy the reviewers. Your acknowledgement will be highly appreciated. We will also appreciate any other suggestions on our manuscript.

We confirm that this manuscript is original and has not been published, nor is it currently under consideration for publication elsewhere. We have no conflicts of interest to disclose.

# We look forward to hearing from you soon.

Kind regards,

Replies to Reviews of “Advanced 3D Wind Farm Layout Optimization Framework via Power-Law Perturbation-based Genetic Algorithm”

(Paper ID JAS-2024-1603.R1 of IEEE/CAA Journal of Automatica Sinica)

Abstract

We are thankful to the anonymous reviewers for their careful reading of our manuscript and many helpful comments. Some explanations/clarifications/corrections have been added in the revised version of the paper. The detailed comments are addressed point-to-point as follows. We hope that the editor and anonymous reviewers find this revision satisfactory.

In the following, comments from three reviewers are reproduced in italic grey, and our replies in ordinary print.

- Replies to Editor

We have obtained three reviewers’ comments. All the reviewers think that the paper contains publishable results and recommend the minor revision. Also they provided detailed comments. Based on my own reading, I concur with them and recommend the minor revision. The authors should address the all reviewers’ comments.

Response：We thank the editors for their support of our work and the reviewers for their careful and meticulous review. According to the revised comments, we have carefully proofread the manuscript, and seriously revised it repeatedly, adding relevant necessary content to the manuscript.

- Replies to Reviewer #1

Comments to the Author

Response：Thanks very much for your time and efforts to review this manuscript, and we really appreciate your valuable comments and suggestions. We have carefully addressed all the comments and suggestions when preparing the revision of this manuscript.

1.Clarification of Power-Law Perturbation: The power-law perturbation mechanism is a key feature of the manuscript, but the description of how it interacts with the genetic algorithm could be further clarified. Specifically, how does it improve the exploration-exploitation trade-off or accelerate convergence compared to standard methods?

Response：Thank you very much for your valuable comment. We have refined the description of power-law perturbation mechanism to make the improvement further clarified in Sec. III-C.

Revised part in Sec. III-C

By using (11), we obtain the evolutionary adaptation degree θ, which serves as a quantitative metric to gauge the population’s state from multiple dimensions. This indicator provides an intuitive understanding of the population’s quality, diversity, and evolutionary vitality. Based on this evaluation, the intervention decisions are made: 1) When the population’s indicators are all favorable, we deem it unnecessary to interfere with the population. This avoids disrupting promising evolutionary trajectories, minimizes counterproductive effects, and reduces computational costs [33]. 2) When evolutionary adaptation degree θ falls below a critical threshold, we consider intervening in the population by adding power-law perturbations to some individuals. A low θ value indicates potential issues, such as the population becoming trapped in a local optimum, a significant reduction in diversity, or stagnation in evolutionary progress. In such cases, we consider applying power-law perturbations to selectively intervene in the population. A perturbation value is applied to each dimension of an individual, meaning the generated perturbation is added to adjust its position in the search space. These perturbations aim to reintroduce variability and vitality by adjusting the positions or genetic structures of certain individuals.

The scale-free nature of the power-law distribution inherently balances the magnitude and frequency of perturbations. This dual capability supports efficient exploitation of high-potential areas while continuing to explore alternative paths to the global optimum. By escaping local optima and maintaining the structured diversity of the population, power-law perturbations can prevent the commonly premature convergence issue.

2. Comparison with Existing Methods: While the proposed approach is interesting, the manuscript would benefit from a more detailed comparison with existing wind farm layout optimization techniques, particularly with other evolutionary algorithms, such as differential evolution or particle swarm optimization. This would better highlight the advantages and potential limitations of the PLP-GA.

Response：Thank you very much for your constructive comment. We have now added the comparison with differential evolution and particle swarm optimization. A comparison with classical evolutionary algorithms DE and PSO can better highlight the advantages and potential of PPGA. The experimental control group now consists of five relevant algorithms (RLPS-TLBO, MDPSO, CGPSO, SUGGA, and AGA), all of which have shown potential performance on this problem. Additionally, it includes four recent algorithms (FLA, INFO, FBIO, and SHADE) and two classic evolutionary algorithms (DE and PSO), which have demonstrated robust performance in practical applications. Among them, LSHADE is the most well-known improved DE algorithm, while MDPSO and CGPSO are the latest improved PSO algorithms.

Revised part in Section IV

RLPS-TLBO [34], SUGGA [35], AGA [36], CGPSO [20], and MDPSO [25] are currently the most advanced algorithms for this problem. SHADE [37], INFO [38], FBIO [39], and FLA [40] are representative and novel swarm intelligence algorithms. DE [41] and PSO [42] are classical evolutionary algorithms applied for practical problems.

Table II, Table III, Table IV, Table V, Table VI, Table VII, Table VIII, Fig.6, Fig.7, Fig. 8

3. Computational Complexity: A discussion on the computational complexity of the proposed algorithm is recommended, particularly regarding its scalability to larger wind farm scenarios. How does the algorithm perform as the number of turbines or grid size increases?

Response：Thank you very much for your insightful recommendation. We have added the computational complexity analysis of PPGA in Sec. III-D. Since the population size we set is relatively small and the dimensional scales chosen are moderate, the increase in computational complexity is acceptable relative to the performance improvement achieved. To further prove the PPGA's advantage as the number of turbines increases, we have refined the analysis of performance and search vitality in Sec. IV-B. From Fig. 6 and Fig. 8, we can see the performance and search vitality of PPGA performs prior as the number of turbines increases.

In addition, we have explained the current challenges and future work in large-scale and ultra-large-scale wind farm optimization in Sec. IV-E. Due to the adoption of a three-dimensional wake model, the computational cost increases significantly as the number of turbines grows. Developing methods to simplify the computational framework while maintaining accuracy is also an important task for future work. The revised content is as follows.

Revised part in Section III-D

D. Computational complexity analysis

Computational complexity analysis helps evaluate the efficiency of the algorithm in practical applications, especially when the problem scale increases, as optimizing execution time and resource consumption becomes crucial.

The computational complexity primarily depends on the population size N and the problem dimension D. For PPGA, the fitness evaluation process has a complexity of O(N·D) for each generation. The selection step, which involves sorting the population, has a computational complexity of O(N·logN). The complexity of evolutionary adaption degree can be calculated as O(N2·D) due to the need to create a diversity matrix. The power-law perturbation function costs O(N·D). The complexities of other operations are relatively small and can generally be ignored. Therefore, the overall computational complexity of PPGA is O(N2·D + 2N·D + N·logN).

The computational complexity of basic genetic algorithm is O(N·D+N·logN). Although the computational complexity has increased, the required population size for this problem is relatively small, making the additional computational resources acceptable compared to the performance improvement.

Revised part in Section IV-B

As the number of wind turbines increases, the performance gap between PPGA and other algorithms becomes increasingly pronounced. While competing algorithms tend to stagnate and cease making significant progress, PPGA continues to actively explore the solution space, persistently seeking improved solutions.

As the number of turbines increases, the improvement degree of other algorithms decreases, while PPGA maintains nearly the same level of improvement degree. The optimization frequency of PPGA continues to rise, further amplifying its advantage over other algorithms. This highlights the effectiveness of power-law perturbations in sustaining the algorithm’s vitality and preventing it from being trapped in local optima.

Revised part in Section IV-E

Furthermore, large-scale and ultra-large-scale wind farm optimization presents a significant challenge in this field. The adoption of a three-dimensional wake model causes computational costs to rise significantly as the number of turbines increases, leading to extremely time-consuming wake calculations. As the wind farm size grows, the interactions between turbines become increasingly intricate, which further exacerbates the computational burden. Developing methods to simplify the computational framework, while maintaining the accuracy of the wake models, is one of the key focus areas of our work.

Revised part in Section V

2) Address the challenge of high computational costs in large-scale wind farm optimization by developing efficient approximate calculation methods..

4. Minor Language Improvements: There are a few instances where the language could be improved for clarity and flow. For instance, in Section 2, the technical details of the perturbation method could be streamlined to make them more accessible to a broader audience.

Response：Thank you very much for your constructive comment. We have carefully proofread and polish the manuscript to make the language fluent and concise. In addition, we have reduced redundant expressions and streamlined technical details. The revised content is as follows.

Revised part in Sec. I

Offshore wind power emerges as a promising solution to several of these challenges in wind energy development. As installation technology advances and maintenance costs decrease, the advantages of offshore wind power are becoming more evident.

Poor turbine arrangement exacerbates wake effects, where reduced wind speed lowers downstream turbine output and uneven wind loads increase fatigue risk [6], [7].

The challenge of this complex system lies in balancing factors like wake effects, turbine spacing, terrain complexity, and obstacles to reduce energy losses and maximize power output [8].

Revised part in Sec. II-A

To streamline computations, we adopt a discrete model for turbine placement within the available sea area, dividing it into a predefined grid with one turbine per grid cell. While most studies simplify the problem by assuming a flat surface, reducing it to a 2D model, we construct a 3D wind farm optimization model to better reflect real-world complexity scenarios [26]. As illustrated in Fig. 2, the model accounts for terrain elevation, where r is the rotor radius, h is the turbine height above sea level, and z is the foundation elevation, making the absolute turbine center height z + h.

Revised part in Sec. II-B

To better simulate real-world conditions, this study employs a 3D Gaussian wake model, which has been validated by wind tunnel data for accurately representing spatial wake distributions [28]. As shown in Fig. 3, the wind shear plane’s flow direction is defined as the x-axis, the vertical direction as the y-axis, and terrain elevation as the z-axis. The incoming wind speed is expressed as u0= u(x, y, z).

To calculate the total flow in a circular cross-section in any wake region, it is necessary to determine the radius of initial generated wake r(x) at the horizontal axis x and the average wind speed v0 behind the blades of the turbine, which are defined as [28]:

The model is based on the important assumption that the downwind wake exhibits a Gaussian distribution where the wind speed distribution at any height z in the horizontal direction at the downwind position is as follows [30]:

Revised part in Sec. III-B

In nature, collective behaviors like fish schools or bird flocks exhibit scale-free patterns, where similar structures emerge across different scales, revealing underlying organization beyond individual actions.

Introducing the power-law distribution into the disturbance strategy of genetic algorithms aims to leverage its self-similarity and scale-free properties to aid the population in effective exploration and exploitation.

3. Replies to Reviewer #2

Most of my comments have been addressed. I recommend acceptance with minor revision.

Response：Thanks very much for your time and efforts to review this manuscript, and we really appreciate your positive comments. Your insights and encouragement mean a lot to us. We have carefully addressed all the comments and suggestions when preparing the revision of this manuscript.

1.Genetic algorithms tend to fall into local optimal traps, and I suggest adding online learning strategies to future study. The author should discuss the possible future study in the paper. I suggest some learning strategies: IEEE Transactions on Cognitive and Developmental Systems, 13(3), 575-585. IEEE Transactions on Cybernetics, 2020, 51(11): 5483-5496. IEEE Transactions on Cybernetics, 2021, 52(11): 12302-12314.

Response：Thank you very much for your constructive suggestion. We have studied these articles and discussed the possibles future study. These studies provide insights and inspiration for future algorithm improvement directions. The revised content is shown below.

Revised part in Section IV-E

Furthermore, integrating deep network models and learning strategies may help the algorithm

learn patterns and relationships from complex data adaptively [43]. For instance, reinforcement learning can dynamically adjust parameters based on the optimization state to guide the exploration process, while neural networks can identify and predict promising solution regions, thereby improving both efficiency and robustness [44], [45].

Revised part in Section V

3) Develop more promising optimization algorithms, such as embedding learning networks to overcome the inherent shortcomings of tradition algorithms.

Revised part in References

[43] E. Q. Wu, P.-Y. Deng, X.-Y. Qiu, Z. Tang, W.-M. Zhang, L.-M. Zhu, H. Ren, G.-R. Zhou, and R. S. F. Sheng, “Detecting fatigue status of pilots based on deep learning network using EEG signals,” IEEE Transactions on Cognitive and Developmental Systems, vol. 13, no. 3, pp. 575–585, 2021.

[44] E. Q. Wu, D. Hu, P.-Y. Deng, Z. Tang, Y. Cao, W.-M. Zhang, L.-M. Zhu, and H. Ren, “Nonparametric Bayesian prior inducing deep network for automatic detection of cognitive status,” IEEE Transactions on Cybernetics, vol. 51, no. 11, pp. 5483–5496, 2021.

[45] E. Q. Wu, C.-T. Lin, L.-M. Zhu, Z. R. Tang, Y.-W. Jie, and G.-R. Zhou, “Fatigue detection of pilots’ brain through brains cognitive map and multilayer latent incremental learning model,” IEEE Transactions on Cybernetics, vol. 52, no. 11, pp. 12 302–12 314, 2022.

2. For the response of my last comment 8. What are the advantages of genetic algorithms? Why not compare with other methods? Or, why is wind farm layout optimization suitable for genetic algorithms?

Response：Thank you very much for your valuable suggestion. We have refined the discussion of the advantages of genetic algorithms and their suitability for this problem. The revised content is shown below.

Revised part in Section I

In wind farm layout optimization, the objective function often involves nonlinear and non-convex relationships, such as wake effects, terrain constraints, and variable wind conditions. GAs seamlessly integrate these constraints and handle tradeoffs without requiring gradient information, making them particularly suitable for non-differentiable or discontinuous functions. Moreover, GAs excel in optimizing discrete problems like wind farm layouts, where solutions typically consist of discrete variables. They perform extensive searches across large search spaces while ensuring generated solutions remain feasible, effectively exploring the solution space to satisfy all constraints.

Revised part in Section IV-B

Notably, the experimental results demonstrate that GA-based algorithms surpass PSO-based and DE-based algorithms in both optimization performance and robustness, underscoring their unique advantages for this problem.

4. Replies to Reviewer #3

Thank you for addressing all of my concerns. I have no further comments.

Response：Thanks very much for your time and efforts to review this manuscript, and we really appreciate your positive comments. Your insights and encouragement mean a lot to us.

Thank you very much for the reviewers' comments and suggestions on our manuscript. The abovementioned comments are particularly welcome and significant for improving the quality of our manuscript.

We look forward to hearing from you regarding our submission, and we will be happy to respond to any further questions and comments.